## Slide 1
MECOP Presentation
Jessica dela Cruz
Mechanical Engineering
2nd Internship
October 2, 2017
Contacts & Facility Logo

## Slide 2: History
Founded in 1997 under the name Surgical Instruments Servicing & Solutions (SISS) in Sisters, OR
Rebranded as Medisiss and moved to Redmond, OR in 2003
In 2012, the company was purchased by Medline Industries
Rebranded as Medline ReNewal in 2013
Still in Redmond, Medline moved from 6 separate buildings to one consolidated building they had built
Medline is debt free!
Jessica dela Cruz | Mechanical Engineering | 2nd Internship

## Slide 3: Reporting structure
Frank Czajka
Division President
Steve Bettis
VP of Operations
Eric Nyquist
Director of Engineering, MECOP Representative
Loren Eby
Product Development (PD) Lab Manager, Mentor
Jessica dela Cruz
PD MECOP Intern
Jessica dela Cruz | Mechanical Engineering | 2nd Internship

## Slide 4: Work information
Benefits
$20/hr
Paid holidays
  Two float holidays available
1 hour of sick leave for every 30 hours of work
All benefits regular hires receive
Schedule
Able to choose start date
40 hrs/wk
8:00 am – 4:30 pm, MTWRF
  Flexible hours if needed
30 minutes to 1 hour lunch
Jessica dela Cruz | Mechanical Engineering | 2nd Internship
Notes: Catch: Can’t miss the day before or after holiday

## Slide 5: My department and department interaction
Worked in the product development (PD) department
  Designed fixtures and tooling for other engineers’ projects
  Championed an equipment redesign
  Helped maintain existing equipment
Interacted with a few other departments
  Manufacturing engineering
  Decontamination
  Refurbishing
  Primary Wash
Jessica dela Cruz | Mechanical Engineering | 2nd Internship

## Slide 6: List of Projects
Jessica dela Cruz | Mechanical Engineering | 2nd Internship
Support IQ/OQ on Equipment
CLiDe System revisions
MakerBot troubleshooting
Sink-pipe splash guard
Open jaw fixture design
3D print test display board
Motic camera calibration
Geddis redesign
Suction chamber redesign
Crest basket design
Ultrasonic study
Comparitive pump flow study
Medical device model
Tissue pad design
Beam-O counter
Mezzanine lift
MakerBot filament stand
Black box fixture redesign
Time temperature plate redesign
Decon department line numbering

## Slide 7: Open jaw fixture
Design a fixture that will keep a device’s jaw open
Went through multiple iterations
  3D printed the different iterations
Got finalized fixture machined with David at Mountain EDM
Main takeaway: Design something with your customer and machinist in mind

## Slide 8: Mezzanine Lift
Problem
Moving bins into the mezzanine required excessive movement and man power.
Objectives
Develop a materials lift that can bring up multiple bins (~50 lbs. each) at a time.
Results
Designing and developing our own lift wasn’t cost effective and required building permits.
Found an off the shelf option, a Versalift, that suits our needs, is cost effective, and doesn’t require building permits.

## Slide 9: Geddis Redesign
Problems
The current Geddis machines weren’t keeping up with production.
The design of the Geddis makes maintenance difficult.
Objectives
Design an enclosure to accommodate 12-18 pumps to be used with a 20 gal. Crest.
Design for easy maintenance.

## Slide 10: Added components to the project
Spec’ing out a new pump
Find a new pump that works with the chemicals being used and has increased flow
Spec’ing out a new filter
Find a comparable filter that is easier to change out
Ultrasonic study
The Crest ultrasonic needed to be validated to be used with the Geddis
Average Flow (GPM) |  | 
Head Height | Current Pump | New Pump
63 w/ Filter | 0.307 | 0.456
24 w/ Filter | 0.407 | 0.642

## Slide 11: Added components to the project
Suction chamber redesign
Design a suction chamber that is cheaper to purchase and maintain than the current one
Basket design
Designed a basket to easily load devices into the Crest

## Slide 12: How I Benefited from Medline/ Takeaways
Feel more confident in my skills and in finding a job after graduating
The importance of instant communication (i.e. phone calls)
Toured machine shops
  More conscious about machinists/ machining capabilities when designing fixtures and tools
Learned about 3D printing and troubleshooting the printer
You can design all you want on SolidWorks, but you’ll only know if the design works when you build it

## Slide 13: Useful courses
MECH475 – Parametric Modeling (SolidWorks)
MEG314 – Geometric Dimensioning and Tolerancing
SPE111 – Public Speaking
SPE321 – Small Group/ Team Communication
WRI327 – Advanced Technical Writing
Jessica dela Cruz | Mechanical Engineering | 2nd Internship

## Slide 14: Internship comparisons
Consolidated Metco
Heavy duty trucking transportation components
Vancouver, WA
Projects given as I completed them
  More hands on projects and project managing
Separate buildings for some departments
Higher wage, but no sick time or vacation time
Medline Renewal
Reprocessing medical devices
Redmond, OR
List of projects from the start
  More design work
  Projects involved a lot of collaborating
Everyone is under one roof
Lower wage than ConMet, but more benefits
Jessica dela Cruz | Mechanical Engineering | 2nd Internship

## Slide 15: QUESTIONS?
Thank you!
Jessica dela Cruz | Mechanical Engineering | 2nd Internship